**The list of protocol files in the runset file**

The list of protocol files in the runset file (ssDNAprep\_96samples\_lib\_qPCR.rst):

1. ssDNAprep\_96samples\_Q\_qPCR\_1\_PreMixing.pro

* Robot starts with mixing dilution plate gently by pipetting up and down.

1. V3\_ssDNAprep\_96samples\_Q\_qPCR\_2\_Prep.pro

* Master mix will be aliquoted from nunc plate to 384 well white wells plates
* Standards will be added into the 384 well plate
* Then, at last 1ul of 50x diluted libraries will be added to 384 well plate.

